Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May - 2016

Subject Title :	LOGIC AND DISTRIBUTED CONTROL SYSTEMS      	     Time : 3 hours

Subject Code:	09EI224/EI236								 	      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What are the basic components of Data Loggers?

2.	Which control mode speeds up the corrective action?

3.	The correct order for the processor operating cycle is:

a.	Input scan, output scan, program scan, communications.

b.	Communications, input scan, output scan, program scan.

c.	Input scan, program scan, output scan.

d.	Program scan, input scan, output scan.

4.	Electrical surges will not pass through __________in either direction.

5.	The types of TIMERS in PLC are____________.

6.	Mention any two arithmetic functions used in PLC.

7. 	What does the term Data Highway refer to in DCS?

8.	What is shared communication in DCS?

9. 	List any two functions of low level human interface in DCS system.

10. 	Mention the industries in which DCS is the heart of the control plant.

PART – B  (5 x 3 = 15 MARKS)

11.	What is data logger.

12.	Draw the Ladder diagram for the circuit shown below .

13.	Draw the PLC symbols of flow and limit switch.

14.	Explain the function of an Operator Station Unit of a DCS.

15.	List the different topologies used in DCS.

PART – C  (5 x 15 = 75 MARKS)

16.  Explain digital controller modes with suitable flow charts and equations.

(OR)

17.	Draw the block diagram of SCADA system and explain each block. Also explain the functions performed by SCADA systems.

18.	Explain architecture of PLC with a neat diagram.

(OR)

[P.T.O]

19. 	a. 	Draw the ladder logic diagram for AND, OR, NOR, NAND and EXOR Gates.  		    (7)

b.	Two conveyors feed a main conveyor. The count from each feeder conveyor is fed into a input 	register in PLC. Construct a PLC program to obtain the total number of parts in the main conveyor.

If total count of main conveyor reaches 15, stop the convey.						    	     (8)

20.	Discuss about the PLC arithmetic functions and number comparison functions with necessary examples.

(OR)

21.	Explain in detail about the sequencer functions in PLC with necessary example.

22.	Illustrate the evolution of DCS and with neat sketch explain its architecture.

(OR)

23.	Explain in detail about the functions of Local Control Unit in DCS.

24.	Explain the High level and Low Level Operator Interface with a neat block diagram.

(OR)

25.	Explain the organization and architecture of DCS in any one Process Industry.