Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	Sensors and Transducers			      	    		 Time : 3 hours

Subject Code:	10EI203/ EI247					 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is instrument?

2.	List three sources of possible errors in instruments.

3.	Define units.

4.	Mention the purpose of the measurement.

5.	The output of the Bourdon tube is given to the input of ………..

6.	Define Sensitivity.

7.	When ς >1 , the second – order system is said to be …………

8.	What is gauge factor?

9.	What is Piezo-electric effect?

10.	What are the uses of capacitive transducer?

PART – B  (5 x 3 = 15 MARKS)

11.	Draw the functional block diagram of a measurement system.

12. 	Mention different type’s dynamic characteristics of transducer.

13. 	What are the different types of strain gauge?

14 	What are the advantages and disadvantages of LVDT?

15. 	Compare digital transducer with analog.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the classification of international system of units with suitable examples.

(OR)

17.	Discuss on the different types of Errors. List out the various statistical analysis carried out to reduce error.

18.	Write short notes on i) accuracy     ii) precision    iii) resolution     iv) linearity.

(OR)

19.	Elaborate on the classification of transducers, with suitable examples for each.

20.	Discuss the principle and operation of potentiometer.

(OR)

21.	Describe with diagrams, the principle of operation of Linear variable differential transformer.

How does LVDT measure displacement?

22.	Describe the three different principles of capacitive transducer with suitable diagrams.

(OR)

23.	Explain the working of piezo – electric transducer. List the properties of Quartz and Rochelle salt.

24. 	Briefly discuss about the operation of Hall effect transducer. On what factors and parameters of the sensor does the hall voltage output depend for a given field condition?

(OR)

25.	What is basically the concept of ‘smart sensor’? What are the essential elements in such a unit? Show with the help of a diagram, the arrangement of these elements.