Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May - 2016

Subject Title :	INDUSTRIAL INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	10EI209 / 12EI218 / EI256						       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	1 atmospheric pressure (1 atm) = _________ psi.

2.	List the different types of pressure.

3.	________ flowmeter measures the flow by measuring the force on the particular point or disc.

4.	What are the types of flow meters?

5.	Mercury in thermometer freezes at __________ C

6.	_________ consists of several thermocouples connected in series.

7.	What are the different types of indirect methods of liquid level measurement?

8.	Give any two advantages of Float level Devices.

9.	Name any highly viscous liquids.

10.	List any two applications of densitometers.

PART – B  (5 x 3 = 15 MARKS)

11.	Write short notes on U-tube Manometer.

12.	Demonstrate the working of venturi tube with a neat sketch.

13.	With a diagram, explain the working of Bimetallic Thermometer.

14.	How to measure the level of an open tank using Sight glass?

15.	What are Newtonian and Non-Newtonian behaviors in fluid?

PART – C  (5 x 15 = 75 MARKS)

16.	Describe the construction and working of the McLeod Gauge with a neat diagram.

(OR)

17.	Explain the construction and working of the following Pressure measuring devices:

a.	Bourdon Tube

b.	Well type manometer

c.	Pirani gauge

18.	With necessary diagrams, elucidate the construction and working of the different types of ultrasonic flowmeters.

(OR)

19.	Explain the principle of operation and working of Electromagnetic Flow Meter.

20.	Elaborate the principle, construction and working of an optical pyrometer with essential diagrams.

(OR)

21.	Describe the working of the different types of Electrical Temperature measuring instruments. Also provide their advantages and disadvantages.

[P.T.O.]

22.	Explain the following Level Measuring instruments in detail:

a.	Float type level detector.														(7)

b.	Displacer type level detector.													(8)

(OR)

23.	Illustrate the principle and working of Ultrasonic Level Detector with a neat sketch.

24.	Give details about the working of various Industrial Viscometers.

(OR)

25.	Elucidate the working of gas and solid density measurements with necessary equations.