Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	LOGIC AND DISTRIBUTED CONTROL SYSTEMS	      	     Time : 3 hours

Subject Code:	10EI210								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is advantage of velocity algorithm?

2.	Write any two important components of data acquisition system.

3.	A vertical connection of contact is allowed in the PLC ladder diagram. True/False

4.	The first PLC was installed primarily in _________application.

5.	What is the use of CPT function in PLC?

6.	How to increase the no of steps in sequencer function?

7.	Write any two redundancy methods used in DCS.

8.	Name the any two manufacturing company of DCS.

9.	Name any two industrial communication protocols.

10.	What is the disadvantage of field bus?

PART – B  (5 x 3 = 15 MARKS)

11.	Write short note on data loggers.

12.	Develop the ladder logic for the following operation.

a. 	switch 1 or switch 2  turns on relay.

b. 	switch 3 and switch 4 turns on relay 2.

c. 	switch 5 or limit switch 30 and relay 1 turn on relay 3.

13.	List out any six PLC advanced mathematical functions.

14.	Write the importance of operator interface in DCS.

15.	State the evolution of signal standards.

PART – C  (5 x 15 = 75 MARKS)

16.	Draw the functional block diagram of computer control system and explain each of its components.

(OR)

17.	With neat block diagram explain the working of  SCADA.

18.	With neat diagram explain the input module, output module and power supply module of PLC.

(OR)

19.	Write short notes on timer and counter functions with suitable examples.

20.	With suitable application explain the importance of SKIP and MCR function in PLC programming.

(OR)

21.	Explain in detail about PLC Table to register move and Register to Table move function with suitable application.

22.	Draw the architecture of distributed control system and explain the function of each block.

(OR)

23.	Discuss about various local control unit Architecture in distributed control system.

24.	Discuss in detail about simultaneous signal transmission of analog and digital type protocol and its network.

(OR)

25.	Explain in detail about foundation field bus with necessary diagrams.