Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	BIOMEDICAL INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	10EI211 / EI216									       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	Define electrode.

2.	Mention the electrical activity recorded from the heat muscles.

3. 	Why calibration of an instrument is important?

4. 	Reveal the factors considered while selecting a transducer.

5. 	What is Diathermy?

6. 	Name the Human Heart Valves.

7.	Give the pH of neutral solution.

8.	Define Macroshock.

9.	Mention the use of collimator in an X – ray machine.

10.	Give the implication of biotelemetry.

PART – B  (5 x 3 = 15 MARKS)

11.	Write notes on the physiology of human heart.

12.	Describe any one method of measurement of blood pressure.

13.	What is hemodialysis?  Explain the working of hemodialyser.

14.	Write short notes on spectrophotometer.

15.	Give the principle of working of computerized Tomography.

PART – C  (5 x 15 = 75 MARKS)

16. 	Give a detailed explanation about the central nervous system and how the electrical activity of brain is measured.

(OR)

17. 	Intricate the different lead system used in Electrophysiology of Cardiovascular system.

18. 	What is meant by cardiac output? Spell out the various method of cardiac output measurement with neat sketches.

(OR)

19. 	a. 	Brief about instantaneous and average heart rate meters.			 				(8)

b.	Brief about the thermistor method of respiration rate measurement with its disadvantages.

(7)

20.	Furnish a concise note on pacemakers.

(OR)

21.	Put in plain words about the need for Defibrillators and the different types of it.

22.	Elucidate the construction and working of flame photometer with a necessary block diagram and neat sketch.

(OR)

23.	Enlighten a brief account on pH measurement with neat diagram.

24.	Write a concise picture about the following:

a.	Angiography		b.	Fluoroscopy												(8+7)

(OR)

25.	Explicate in detail about the principle and operational element involved in the functioning of an MRI imaging system.