Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	INSTRUMENTATION & CONTROL SYSTEMS		      	     Time : 3 hours

Subject Code:	10ME202/ME256								       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What is an error?

2. 	Define calibration.

3. 	Name the transducer used to measure negative pressure.

4. 	What output is generated by a thermocouple?

5. 	Name the instruments used for humidity measurement.

6. 	What are the instruments used to measure torque?

7. 	Define open loop system.

8. 	What is signal flow graph?

9. 	Write the equation of gain margin.

10. 	Write the routh stability criterion.

PART – B  (5 x 3 = 15 MARKS)

11.	Differentiate Precision and accuracy.

12. 	Illustrate neatly about Bourdon tube pressure gauge.

13. 	Define the terms absolute humidity and relative humidity.

14. 	Explain the term ‘Closed loop system’ with example.

15.  	What is time response?

PART – C  (5 x 15 = 75 MARKS)

16. 	Draw the block diagram of generalized measuring system and explain the different stages with examples.

(OR)

17. 	a. 	Describe in detail about errors of measurement.  									    (8)

b. 	Explain in detail about standards and calibration.									    (7)

18. 	With neat sketch explain the construction details and working principle of Mcleod gauge 	for measuring low pressure.

(OR)

19.	a.	Discuss with neat diagram about resistance thermometer. 							    (7)

b.	With a neat sketch explain the operation of Electromagnetic flow meters.			    (8)

20.	What is strain?  How is it measured? Describe the types of strain gauges.

(OR)

21.	a.	Discuss about piezoelectric transducers.											    (7)

b.	Classify the types of pyrometers and explain any one with neat sketch.				    (8)

22. 	Explain Servomechanism with a neat diagram.

(OR)

[P.T.O]

23. 	Use Mason’s gain formula for determining the overall transfer function of   the system show in Figure

24. 	a.	Illustrate with neat sketch, any one type for humidity measurement.				    (9)

b.	State the laws of thermocouple behaviours.										    (6)

(OR)

25. 	Use the routh stability criterion to determine the location of roots on the s-plane and hence the stability for the system represented by the characteristic equation s6+s5+3s4+3s3+3s2+2s+1=0.