Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	ANALYTICAL CHEMISTRY AND SPECTROSCOPY     	     Time : 3 hours

Subject Code:	10NT214								 		       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Oxygen is unsuitable as a carrier gas for Gas chromatography, why?

2.	Mention two applications of ion-exchange chromatography.

3.	13C NMR is active, whereas 12C NMR is not. Give reason.

4.	Write the principle of NMR spectroscopy.

5.	Give any two detectors used in confocal microscope.

6.	Mention two application of fluorescence.

7.	If a compound has even number of nitrogen then its molecular mass will be __________.

8.	How many fragments are formed from 1-Butanol?

9.	Give any two problems associated with crystallisation.

10.	Write Bragg’s law.

PART – B  (5 x 3 = 15 MARKS)

11.	Write a short note on axial haloketone rule.

12.	Why TMS is used as a standard in NMR Spectroscopy? Explain.

13.	What is fluorescence polarization? Draw a neat diagram showing fluorescence polarization.

14.	What is metastable ion peak? Give an example.

15.	Write the application of X – Ray Difraction spectroscopy.

PART – C  (5 x 15 = 75 MARKS)

16. 	a. 	Describe the principle and working of HPLC.			                               		    (8)

b. 	Discuss the application of ORD in organic and biomolecules.  		                   		    (7)

(OR)

17. 	a. 	Write shorts notes on:   i.	Cotton effect.	ii.	Octant rule.		               		(4+4)

b. 	Discuss the principle, instrumentation and application of gas chromatography. 	       	    (7)

18. 	a. 	What is chemical shift? Explain the factors affecting chemical shift. 		       		    (8)

b. 	What is spin-spin coupling? Explain with one example.  				       			    (7)

(OR)

19. 	a. 	Discuss the principle and application of FT-NMR spectroscopy. 		                   	    (8)

b. 	Define spin decoupling. Explain its advantages.	                                           			    (7)

20. 	a. 	Briefly discuss about non-radioactive transition and radiodive transition by using         	Jablonski diagram.									     						  (10)

b. 	State the principle of FRET. 							       						    (5)

(OR)

21. 	a. 	What is fluorescence in-situ hybridization (FISH)? Explain the preparation and 	hybridization process of RNA.						       						    	    (7)

b. 	What is fluorescence confocal microscopy (FCM)? Draw the reflection mode of FCM. 			What are the applications of FCM?							       					    (8)

[P.T.O]

22. 	a. 	Discuss the significance of molecular ion peak.					       				    (8)

b. 	Explain the mechanism of Mc Lafferty rearrangement.		 		       			    (7)

(OR)

23. 	a. 	Write about Retro Diels Alder rearrangement in Mass spectra.                               	    (4)

b. 	Write about the fragmentation pattern of ester.			                               		    (7)

c. 	Write the structure of the compound whose peaks in the mass spectrum appear at m/e 	   values 60, 42, 31 and 27.							                   					    (4)

24. 	a. 	What is isomorphous replacement? Explain how it is used to solve the structure.      	  (7)              b. 	Explain the various stages involved in protein crystallography.				       		    (8)

(OR)

25. 	a. 	Discuss the problems associated with growing biomolecular crystals.	                     	    (8)

b. 	Explain how the electron density maps derived in crystallography are interpreted.          (7)