Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	POWER ELECTRONICS								    Time : 3 hours

Subject Code:	11EE212 / 12EE212 / EE254						      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	SCR is ________.

2.	Mention the types of Power MOSFET.

3.	Average output voltage equation for single phase full converter is________.

4.	How many SCRs are used in single phase full converts Bridge circuit?

5.	Mention the function of chopper.

6.	Define Cycloconverter.

7.	Define PWM.

8.	Mention the function of inverter.

9.	Comment the types of HVDC Transmission system.

10.	Which drive can be used for the induction motor?

PART – B  (5 x 3 = 15 MARKS)

11.	Draw the static V-I characteristics and transfer characteristics of IGBT.

12.	Compare full converter and semiconverter.

13.	Define Time Ratio control.

14.	Draw the circuit diagram of single phone full Bridge inverter.

15. 	List out the advantages of No-break UPS.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Illuminate the output characteristics and switching waveform of the Power MOSFET.

(10)

b.	Differentiate the PMOSFET with BJT.											   (5)

(OR)

17.	Explain the working principle and stratic V-I characteristics of SCR with neat sketch.

18.	Explain the operation of single phase full wave bridge converter with the neat circuit diagram and waveforms.

(OR)

19.	Explain the operation of single phase semi converter with the neat circuit diagram and waveforms.

20.	Explain the operation of single phase full wave ac-ac controller with R load with necessary circuit and waveforms.

(OR)

21.	Describe the operation of step down chopper with circuit diagram and waveform.

22.	Explain the operation of the phase inverter in 180°degree model conduction with necessary circuit – diagram and waveforms.

(OR)

23. 	Discuss the operation of single phase series inverter.

24.	Briefly describe the concept of bipolar HVDC system.

(OR)

25.	Summarize the working principle of UPS.