Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	POWER SYSTEM PROTECTION AND SWITCHGEARS

Time : 3 hours

Subject Code:	11EE218/12EE218/EE256						       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the difference between relay and contactor?

2.	The current at which a magnetic contactor starts to close under normal operating 	temperature is called ____________.

3.	Line to line fault is an asymmetrical fault. (True or false)

4.	How is fuse used in a circuit?

5.	Give any one method used for arc extinction in circuit breaker.

6.	Define rate of rise of restriking voltage.

7.	Name the different types of arresters.

8.	What is a feeder?

9.	A ____________ is an automatically operated electrical switch designed to protect an 	electrical circuit from damage caused by overload or short circuit.

10.	What is Surge impedance?

PART – B  (5 x 3 = 15 MARKS)

11.	Illustrate lightning observable fact.

12.	What are the essential qualities of protection relay?

13.	List out the types of circuit breakers.

14.	Define earthing.

15.	Furnish the merits of static relays.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the various types of power system faults and their effects.

(OR)

17.	a.	Relate the similarities and contrasts between current and potential transformer.		    (7)

b.	With a neat sketch, explain the types of a current transformer. 						    (8)

18.	Describe with neat sketches the differential relay used in alternator protection.

(OR)

19.	Investigate the working of induction type directional over current relay with a neat diagram.

20.	Testing of circuit breakers is necessary in Power system – Justify the statement with 	necessary diagram and explanation.

(OR)

21.	Describe in detail, the construction and working of plain oil circuit break with a neat sketch.  Also state its advantages & Disadvantages.

22.	Depict the importance of resistor and choke coil in a horn gap arrester with necessary diagrams.

[P.T.O]

(OR)

23. 	How Ferranti surge absorbers are used for protecting the power system?

24.	Outline the necessity of insulation co-ordination in a sub-station in detail.

(OR)

25.	Explain the following in detail:

a.	Resistance earthing. 															(8)

b.	Reactance earthing 															(7)