Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	ENERGY SYSTEMS								      	     Time : 3 hours

Subject Code:	11EE242						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Draw the I-V characteristics for maximum power point in solar cell.

2.	Define solar constant?

3.	List down the most favorable sites for installing wind turbines.

4.	Find the declination angle for August 10, 2015.

5.	What are the types of fuel cells?

6.	Discuss wave energy.

7.	Name three types of Electric Braking.

8.	Give two methods for measuring power frequency AC Voltage.

9.	What is the use of Multiplier Circuit?

10.	Which lamps are suitable for efficient lighting?

PART – B  (5 x 3 = 15 MARKS)

11.	How do we measure solar radiation?

12.	Discuss tidal energy generation.

13.	Derive expression for Square law.

14.	What are the major divisions in systems of electric traction?

15.	Write about sphere gap measurement technique.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Draw and explain an equivalent circuit of a practical solar PV cell.					    (8)

b.	Comment on the environmental impacts of wind energy.							    (7)

(OR)

17.	a.	Sketch the diagram of HAWT and explain the functions of its main components.		    (8)

b.	Describe the application of variable speed-drive using Power Electronics in WECS.	    (7)

18.	Draw and explain the open cycle MHD power generation.

(OR)

19.	With the help of schematic diagrams, explain the working of PEM fuel cell along with balance equations.

20.	a.	With help of neat sketch, explain any one type of bench photometers.				  (10)

b.	Discuss the applications of flood lighting.										    (5)

(OR)

21.	Explain the lighting schemes and brief about the factory lighting with necessary diagrams.

22.	Explain Electric Braking with neat sketch.

(OR)

23.	Write a brief note on specific energy consumption and bridge traction.

24.	Describe with neat sketch, the working of a Van de Graff Generator.

(OR)

25.	a.	Explain the methods used for measurement of high DC voltage.					    (7)

b.	Explain how a sphere gap is used to measure the peak value of voltages. State the precautions needed to be taken.													    (8)