Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	PLC AND AUTOMATION							      	     Time : 3 hours

Subject Code:	11EE245						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	PLC = ___________.

2.	Define Field bus.

3.	HMI = ___________.

4.	Define touch panel.

5.	SCADA = ___________.

6.	Define operator interface.

7.	DCS = ___________.

8.	Define automation.

9.	ASRS = ___________.

10.	State the advantages of CNC.

PART – B  (5 x 3 = 15 MARKS)

11.	Define Process Bus.

12.	State the features of Panel PCs.

13.	State the advantages of SCADA.

14.	Define Process automation.

15.	State the advantages of Wireless controls.

PART – C  (5 x 15 = 75 MARKS)

16.	Draw diagrams and explain the architecture of PLC. Explain the types of PLCs.

(OR)

17.	Explain Process bus and ether net.

18.	Write a ladder program for control of four operations. Explain the system and solution.

(OR)

19.	Write short notes on:

a.	Role of HMI system in industrial automation.

b.	Integrated displays.

20.	Explain the architecture of DCS.

(OR)

21.	Explain operator interfaces and engineering interfaces.

22.	Discuss a case study of Process automation.

(OR)

23.	Discuss a case study of Machine automation.

24.	Explain computer Integrated Manufacturing.

(OR)

25.	Write short notes on:

a.	Intelligent automation.

b.	Automatic Inspection.