# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	RESTRUCTURED POWER SYSTEMS				       Time : 3 hours

# Subject Code: 	11EE320								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	a.	Discuss the operating experiences of deregulated markets in Australia and Asia.	      (10)

b.	Describe about market equilibrium.											      (10)

(OR)

2.	a.	Explain any two types of electricity markets.									      (10)

b.	Discuss the Cournot method of modelling a market with imperfect competition.	      (10)

3.	a.	Explain different methods of calculating static ATC in detail.					      (10)

b.	Write short notes on locational marginal pricing method.						      (10)

(OR)

4.	Explain power flow tracing method of transmission pricing with an example.

5.	Discuss in detail about inter zonal and intra zonal congestion management problem.  Mention its objectives, control variables and constraints.

(OR)

6.	What are financial transmission rights?  Describe the different FTR auction models.

7.	a.	What are ancillary services?  Explain in detail about each component of it.		      (10)

b.	Discuss briefly about various frequency control practice followed in deregulated power 	market.																	      (10)

(OR)

8.	a.	What are the implementation difficulties encountered in compulsory provision of 	ancillary services?														      (10)

b.	Explain the reactive power pricing methods followed in UK.			     		      (10)

9.	Compulsory:

a.	Enumerate the role of transmission planning with regard to transmission expansion in the 	restricted arena.															      (10)

b.	Describe the value based transmission expansion problem.					      (10)