Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	INSTRUMENTATION AND PROCESS CONTROL FOR FOOD ENGINEERS											      Time : 3 hours

Subject Code:	11EI215/12EI252								       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Transfer function.

2.	Laplace transform of a (e−at)is _________.

3.	What is the purpose of spring in a control valve?

4.	Mention the components of feedback control system.

5.	Give Mason’s gain formula.

6.	What is the use of Block diagram algebra?

7.	What is the use of free end in a Bourdon gauge?

8.	Thermistor has ___________ temperature coefficient.

9.	What are the principles used for level measurement with capacitive sensing element?

10.	pH of distilled water is __________.

PART – B  (5 x 3 = 15 MARKS)

11.	What is feedback control? Mention its advantages.

12.	What is a two way control? Give some practical applications.

13.	What is Routh stability criterion?

14.	Explain the working of Bimetallic strip.

15.	Explain level measurement using float.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain an automatic process control system with a neat diagram.

(OR)

17.	Obtain the Laplace transform of standard input signals.

18.	Explain the construction and working of pneumatically operated control valve.

(OR)

19.	Explain Proportional, Integral and Derivative control modes in detail.

20.	Brief about open and closed loop control system with example.

(OR)

21.	Find the stability of the system using Routh array whose characteristics equation is given by,

S6+2S5+8S4+12S3+20S2+16S+16=0

22.	Explain the construction and working of Inductive pressure transducer.

(OR)

23.	Explain the construction and working of thermocouple.

24.	Explain the working of gas chromatography in detail with a neat sketch.

(OR)

25.	Explain the working of Mass spectrometer with a suitable diagram.