Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	METROLOGY & COMPUTER AIDED INSPECTION    	     Time : 3 hours

Subject Code:	11ME203/ME281/PE227							      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Random error occurs due to small variation in position of workpiece & instruments.

(True / False)

2.	Agreement of a result of the measurement with the true value of a measured quantity is called _________.

3.	Slip gauges are used for calibrating the instrument (True / False).

4.	Sine bar is used to measure  _________.

5.	Clinometer is related with _________.

6.	Which parameter is measured using gear tooth vernier?

7.	Collimator is simply a source of _________.

8.	Tomlinson recorder is associated with the measurement with _________.

9.	Decomposition of a scene into its components is  called _________.

10.	_________ and _________ are the methods of laser metrology.

PART – B  (5 x 3 = 15 MARKS)

11.	Define sensitivity.

12.	Write the characteristics of Line standard.

13.	What is flatness?

14.	Define pitch.

15.	What do you mean by machine vision?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain the classification of methods of measurements.							    (8)

b.	Compare and contrast precision and accuracy.									    (7)

(OR)

17.	a.	Write about different sources and types of errors.									    (8)

b.	Explain the terms: Repeatability and Magnification.								    (7)

18.	a.	Explain the construction and use of the Autocollimator.							    (8)

b.	With neat sketch explain the working of clinometers and state its uses. 				    (7)

(OR)

19.	What is a micrometer? Describe various parts of it and explain depth micrometer.

20.	a.	Explain flatness testing. Write the procedure for determining the flatness of a surface.   (8)

b.	Explain the procedure involved in the following. i. Testing the parallelism of two planes   ii. Equidistance.																    (7)

(OR)

[P.T.O]

21.	a.	With a neat sketch explain the Tomilson surface recorder instrument.

b.	Write about the surface texure.

22.	a.	Explain the various errors in thread measurements.								    (6)

b.	Name the methods of measuring effective diameter of a thread and explain any one method in detail. 																	    (9)

(OR)

23.	a.	Describe the Parkinson gear tester.												    (8)

b.	Explain the gear tooth vernier caliper.											    (7)

24.	Explain the construction and working of Coordinate measuring machine and applications of CMM.

(OR)

25.	List out the non-contact measuring devices. And explain any one with neat sketch.