Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	INSTRUMENTAL METHODS OF ANALYSIS		      	     Time : 3 hours

Subject Code:	12BI205/12BT206								       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Write one example of Good’s buffer.

2.	Define pH.

3.	Write one application of flame photometer.

4.	State Beer Lamberts law.

5.	Name the gas present inside cathode lamp in AAS.

6.	Expand HPLC.

7.	Write one example of radioactive isotope.

8.	Name the scientist who invented GM Counter.

9.	What is thermogravimetry?

10.	Give one example for solid flour in DSC.

PART – B  (5 x 3 = 15 MARKS)

11.	Write short note on Glass electrode.

12.	Write the applications of colorimeter.

13.	Write the principle of IR spectrosocopy.

14.	Mention different types of Radioactive decay.

15.	Write short note on autoradiography.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Derive Henderson – Hesselbalch equation and its applications.						    (7)

b.	Write in detail about Good’s Buffer and its characteristics.						    (8)

(OR)

17.	Write in detail the working principle, instrumentation and application of pH meter.

18.	a.	Explain in detail the Instrumentation, working principle and applications of UV-Visible 	spectrophotometer.															  (12)

b.	Write the applications of flame photometer.										    (3)

(OR)

19.	Write in detail the working principle, instrumentation of Raman spectroscopy with a neat diagram.

20.	Explain in detail the Instrumentation, working principle of HPLC and its applications in the field of biotechnology.

(OR)

21.	Give a detailed account on instrumentation, working principle and applications of atomic absorption spectroscopy.

22.	Give a detailed account on GM counter and its applications.

(OR)

23.	Write the different applications of radioactive metals in medicine and diagnosis.

24.	Explain in detail the role of differential scanning calorimeter (DSC) in the field of thermal analysis.

(OR)

25.	Write in detail the working principle of differential thermal analysis and its applications with a neat diagram.