Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	WATER SUPPLY ENGINEERING					      	     Time : 3 hours

Subject Code:	12CE218										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	List the factors which affecting water consumptions.

2.	Relate water quantity with per capita demand.

3.	Give BIS value of drinking water for hardness.

4.	List physical and chemical characteristics of water quality.

5.	List types of aerators.

6.	Label the use of jar test.

7.	Recall the basic function of an intake structures.

8.	Classify pumps based on operations.

9.	What is the objective of distribution system?

10.	List the types of reservoirs.

PART – B  (5 x 3 = 15 MARKS)

11.	List different sources of water.

12.	Name types of bacteriological test available to test water.

13.	Explain the objective of water treatment.

13.	List the design consideration factor of an intake structures.

14.	Identify the requirements of Good Distribution System.

PART – C  (5 x 15 = 75 MARKS)

16.	Predict the population for the year 2021, 2031, and 2041 from the following population data using Arithmetical increase method and incremental increase method.

| Year | 1961 | 1971 | 1981 | 1991 | 2001 | 2011 |
| --- | --- | --- | --- | --- | --- | --- |
| Population | 8,58,545 | 10,15,672 | 12,01,553 | 16,91,538 | 20,77,820 | 25,85,862 |

(OR)

17.	Elaborate in detail about water quantity estimation for a water supply project.

18.	Summarize different types of physical and bacteriological tests available to test water quality.

(OR)

19.	Explain different types of Chemical tests available to test water quality.

20.	a.	Demonstrate the role of aerator in water treatment. 								    (7)

b. 	Discuss in detail about settling in water treatment. 								    (8)

(OR)

21.	Design a rapid sand filter to treat 10 million liters of raw water per day allowing 0.5% of filtered water for backwashing. Half hour per day is used for backwashing. Assume necessary data.

[P.T.O]

22.	Elaborate different types of joints in water supply pipes with neat sketch.

(OR)

23.	Write a short note on different types of intakes.

24.	List and explain layout of distribution systems.

(OR)

25. 	Analyze the pipe network shown by Hardy Cross method.

30 l/s

K=1

K=3

40 l/s

50 l/s

K=2

K=3

K=3

20 l/s