Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May - 2016

Subject Title :	INTELLIGENT BUILDINGS						      	     Time : 3 hours

Subject Code:	12CE257						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	How can a building be made intelligent?

2.	What is the approximate cost of an intelligent building?

3.	Name the platform developed by ASHRAE for integrating lighting, space conditioning and fire safety.

4.	Expand CAV and VAV of air-conditioners.

5.	Write the function of distribution station in power distribution systems.

6.	Write the uses of skylights in buildings.

7.	What do you mean by non combustible materials and one of its characteristic?

8.	List any two gadgets used for access control systems.

9.	What is the other name for the digital integrated circuit (IC)?

10.	Give the two basic elements of satellite communication.

PART – B  (5 x 3 = 15 MARKS)

11.	Discuss the three dimensions of building intelligence?

12.	Write the basic requirement the transmission and distribution system should satisfy?

13.	What are the important provisions NBC has given for the means of fire escapes?

14.	Explain about the burglar alarm used in homes.

15.	Give the concept of ROM and RAM memory used in computers?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Discuss on the subsystems of integrated building management systems.				    (8)

b.	Give a case study on the intelligent buildings in India highlighting on the IBM features 	introduced.

(7)

(OR)

17.	a.	Bring out the comparison and contrast between intelligent and green building concept.   (8)

b.	Explain the green building rating system used for buildings.						    (7)

18.	a.	Draw a layout of typical house wiring.											    (7)

b.	By sketching explain the various methods of earthing adopted in buildings?			    (8)

(OR)

19.	With the help of neat sketch write notes on:

a.	Sodium vapour lamp		b.	Mercury vapour lamp

20.	a.	Write notes on water storage and pumps used for firefighting purpose.				    (8)

b.	Detail on automatic fire alarm and detection systems.								    (7)

(OR)

21.	Give an account of fire service installations used in buildings.

[P.T.O]

22.	a.	With the help of neat sketch explain the digital CCTV systems that has revolutionized the 	world.																	  	  (10)

b.	Explain the benefit which the new market driven digital CCTV has over analog CCTV.

(5)

(OR)

23.	Explain the different types of intrusion detection to detect intrusion from within and intrusion outside.

24.	a.	Write notes on microprocessor based controls.									  (10)

b.	What are the areas of application of a PLC?										    (5)

(OR)

25.	a.	Give an account on satellite communication.										    (8)

b.	Explain the three basic components of fiber optic communication systems.			    (7)