Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	INDUSTRIAL WASTE TREATMENT AND DISPOSAL													      	     									      Time : 3 hours

Subject Code:	12CE259								 		       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Name any four industries which pollute water.

2.	List out any two sources of air pollution.

3.	Name any two coagulants used for the treatment of wastes.

4.	What is the pH value suitable for drinking water?

5.	Define TOC.

6.	Classify biological treatment units.

7.	List two types of leather tanning.

8.	What are the typical wastewater characteristics of a textile industry?

9.	What is black liquor?

10.	Write the products of dairy industry.

PART – B  (5 x 3 = 15 MARKS)

11.	List the various waste reduction techniques.

12.	Write a brief note on Equalization.

13.	Distinguish aerobic and anaerobic decomposition of organic matter.

14.	Write the composition of the waste water of a typical dairy industry.

15.	Draw the flow chart for treatment of waste from fertilizer manufacturing industry.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail about strength reduction techniques.

(OR)

17.	a.	Explain the effects of waste water discharge on water bodies.						  (10)

b.	Write short notes on environmental audit.										    (5)

18.	a.	Explain the methods for neutralization.											    (8)

b.	Outline a sketch on the combined treatment of industrial and municipal wastes.		    (7)

(OR)

19.	Explain the separation process of solids from industrial wastes.

20.	Describe Activated Sludge Process in detail.

(OR)

21.	a.	Write short notes on (i) Reverse Osmosis	 (ii) Electro Dialysis.					    (8)

b.	Discuss briefly about stabilization ponds.										    (7)

22.	Explain in detail the manufacturing process of paper with the help of a flow diagram with treatment process.

(OR)

23.	Explain the waste water characteristics and waste treatment method of fertilizer industry effluent.

24.	Describe the process and characteristics of waste from the sugar industry.

(OR)

25.	Explain the process in tanning industry with a neat flow chart. State the characteristics of waste water generated and suggest suitable treatment methods.