Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May - 2016

Subject Title :	BIOMEDICAL INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	12EC238										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The nerve cell with its dendrites and fiber is called _________.

2.	Thermocouple is a transducer and it works on _________ effect.

3.	Name the instrument that is used to determine the percentage of oxygen saturation of circulating arterial blood.

4.	In routine clinical tests, blood pressure is measured using which instrument?

5.	Name the treatment process by which cutting, coagulation of tissues is obtained.

6.	Name the most commonly used anesthetic.

7.	Which is used to analyze urine or blood to determine the concentration of K,Na,Ca and Li?

8.	What is the instrument used to measure the partial pressures of hydrogen, carbon-di-oxide and oxygen in human blood?

9.	Name a special X-ray imaging technique to obtain better contrast of the blood vessels.

10.	Name the electrical technique for conveying biological information from a living organism to a location where this information can be recorded or observed.

PART – B  (5 x 3 = 15 MARKS)

11.	Differentiate between Electrocardiograph and Phonocardiograph.

12.	Differentiate between active and passive transducer.

13.	What is a pacemaker? Draw the waveform of pacemaker pulses.

14.	What can be analyzed using flame photometer?

15.	Draw the block diagram of biotelemetry.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain about the different brain waves that are being recorded through EEG.		    (8)

b.	Draw and explain about the ECG recording setup of a patient.						    (7)

(OR)

17.	a.	Explain about the biomedical setup to record and interpret the electrical activity of human 	eye.																			    (8)

b.	Draw the human respiratory system and label the parts.							    (7)

18.	a.	Explain the working principle of ultrasonic blood flowmeters, based on transit time 	principle. 																	    (8)

b.	Explain about cardiac output measurement using Fick’s method.					    (7)

(OR)

19.	a.	With the help of a block diagram, explain the working of automatic Bekesy audiometer.(8)

b.	Draw the LVDT configuration and its electrical characteristics.					    (7)

20.	a.	Explain in detail about the working of Ventricular asynchronous pacemaker with a neat 	circuit diagram. 																    (9)

b.	List the table stating the typical range of pacemaker Parameters.					    (6)

[P.T.O.]

(OR)

21.	a.	What is the need for artificial heart valves?										    (3)

b.	Compare hemodialysis and peritoneal dialysis.									    (5)

c.	Explain about peritoneal dialysis.												    (7)

22.	a.	Explain the principle of working of spectrophotometer.							    (6)

b.	Explain about a technique used to separate closely related chemical substances based on differences in the migration velocity of the substances between a stationary and a mobile phase.																		    (9)

(OR)

23.	a.	Explain about the devices to protect against electrical hazards.						  (10)

b.	What is macroshock and microshock?											    (2)

c.	List out the various microshock and macroshock hazards.							    (3)

24.	a.	Explain the block diagram of CT scanner.										    (7)

b.	List the applications of computer tomography in diagnosing the problems in central 	nervous system.																    (3)

c.	Explain about the A-mode of display in ultrasound scanner.						    (5)

(OR)

25.	a.	List out the criteria to design a bio-telemetry system.								    (5)

b.	Explain about the types of multiple channel telemetry systems.						  (10)