Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	Electric Drives and Control							      	     Time : 3 hours

Subject Code:	12EE214/ EE273					 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are all the components of load torque?

2.	In multi quadrant operation of drives, the operation in quadrant I is known as ____________.

3.	State if discontinuous conduction will occur in chopper fed drives.

4.	What are the methods of speed control that is used in DC motor?

5.	Define the slip in Induction motor.

6.	Name any one method of speed control of 3 phase induction motors.

7.	In self controlled mode of synchronous motor, load commutation is not possible at

a.	Starting		b.	low speed 	c.	at high speed		d.	starting as well as low speed

8.	Write any one application of stepper motor.

9.	Which one of the following is not a feedback device for measuring shaft speed?

a.	resolver		b.	encoder		c.	hall effect sensor	d.	RTD

10.	An electric motor that is best suited for cranes is ____________.

PART – B  (5 x 3 = 15 MARKS)

11.	What are the advantages of Electric Drives?

12.	What is meant by plugging?

13.	Compare VSI and CSI fed induction motor drives.

14.	Explain the closed loop control of drives.

15.	What are the advantages of microprocessor control of electric drives?

PART – C  (5 x 15 = 75 MARKS)

16.	What are the parts of Electrical Drives and Explain in detail with block diagram.

(OR)

17.	a.	With a neat block diagram explain the closed loop speed control of a drive.			(9)

b.	Explain the term (i) continuous rating	(ii) short time rating as applicable to an electric 			motor.																		(6)

18.	Explain in detail the operation and steady state analysis of 1 phase fully controlled converter 	fed DC drive with neat waveforms in continuous and discontinuous conduction modes.

(OR)

19.	Explain in detail the operation of single phase half controlled converter fed DC drives with neat 	waveforms.

20.	a.	Describe with a neat diagram and equations the static Scherbius drive.				(8)

b.	Discuss in detail the static control of rotor resistance of an induction motor.			(7)

(OR)

21.	Explain any one method of speed control of Induction motor drive with neat diagram.

[P.T.O]

22.	a.	Draw the power circuitry and explain the operation of a self controlled mode for a three 			phase synchronous motor drive.												(10)

b.	Explain in detail about chopper controlled DC drives.								  (5)

(OR)

23.	a.	Explain the working principle of stepper motor.									(7)

b.	Describe with a neat diagram and equations the static Krammer drives.				(8)

24.	Discuss the choice of electric drives for any one application. [Ex: paper mill, textile mill, etc…]

(OR)

25.	Explain in detail about solar powered pump drives.