Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	VIRTUAL INSTRUMENTATION					      	     Time : 3 hours

Subject Code:	12EE237/EE270					 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Which layer of the VI is data management software layer?

2.	What is control and function palette?

3.	List the part of virtual instrumentation.

4.	What is numeric indicator?

5.	What is a sub virtual instrumentation?

6.	Mention the common structures of virtual instrumentation.

7.	List some of the signal analysis functions.

8.	What is GPIB?

9.	Mention some of the bus utility and goals.

10.	What are the two major parts of IMAQ?

PART – B  (5 x 3 = 15 MARKS)

11.	What is SCSI and give the use of it?

12.	Mention the role of strings in a VI.

13.	Give details of the time structure in NI Lab View.

14.	List the advantages of express VI.

15.	List out few Local and Global Variables.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain Virtual Instrumentation in detail.

(OR)

17.	Describe Virtual Instrumentation for Test, Control and Design.

18.	Explain the design and prototype model of Graphical system design in detail.

(OR)

19.	Explain in detail various loops and case statements in graphical programming.

20.	Explain I/O parts, display the mode control port and display status port in Graphics adapter.

(OR)

21.	Explain the bus utility signals indicating their protocol.

22.	Explain the method of interacting an analogue signal with the digital data acquisition system.

(OR)

23.	Discuss interfacing of current loops and RS 232 to PC.

24.	What is an Image acquisition and processing? How it will be processed and controlled during industrial communication in VI control system?

(OR)

25.	With a neat diagram explain the various methods of interconnecting computer devices for office and Industrial applications.