Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	BUILDING AUTOMATION							      	     Time : 3 hours

Subject Code:	12EE253						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Name some physical quantities that need to be measured in HVAC systems.

2.	Distinguish the closed loop and open loop control system.

3.	__________ is used to measure the utilized electrical energy of a building.

4.	The unit of reactive power is expressed as __________.

5.	__________ can be used as a fire extinguisher for class A fire.

6.	List the fire behavior indicators.

7.	The basic patterns of finger print ridges are __________.

8.	__________ and __________ are the types of access control cards based on the working principle.

9.	What is the role of sequence number in TCP?

10.	The advantage of higher F stop is __________.

PART – B  (5 x 3 = 15 MARKS)

11.	What is the difference between sensor and transducer?

12.	Tell the necessity of Energy Management in a building.

13.	Discuss the different conditions at which the alarm signals are required in fire pumps.

14.	How does the nested anti pass back system works?

15.	Mention the difference between hub and switch.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Summarize the features, characteristics and drawbacks of building automation system. (10)

b.	Mention the selection procedure for cables to automate the building.				    (5)

(OR)

17.	Discuss the intelligent control of level and flow in a building.

18.	Discuss about reactive power requirement and power quality issues and its effect on energy consumption.

(OR)

19.	Draw and explain the operation of automatic energy meter reading system.

20.	Explain the process of cable selection, installation guidelines and best installation practices for safety systems.

(OR)

21.	a.	Summarize the different types of fire detectors and its working principle with suitable 	diagram.																		  (10)

b.	Mention the different fire behavior indicators. How will you react based on the different indicators?																	   (5)

22.	Summarize the implementation of a security system for a building using the different biometric features of a human body.

(OR)

23.	Explain the concept of video management. Elaborate on CCTV basics, digital video recording and its special features.

[P.T.O]

24.	a.	What are the benefits of integrated systems and the challenges faced?				    (5)

b.	Discuss in detail about the following:

i.	Safety system		ii.	Security system									  (10)

(OR)

25.	a.	Highlight the future prospects of integrated systems.								    (5)

b.	Make a layout of a complete BAS for a highly secure and valuable building.			  (10)