Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	FUNDAMENTALS OF ELECTRICAL SAFETY		      	     Time : 3 hours

Subject Code:	12EE254								 		       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	List the risk caused by indirect contact.

2.	What are the types of over current?

3.	Define Insulation.

4. 	What are cables?

5.	What protection does insulation provide?

6.	What are Electrical Safety Devices?

7.	What effect do shocks have on the body?

8.	What are the main factors in Electrical Accident?

9.	Define Power Factor.

10.	Define Creeping in Energy meter.

PART – B  (5 x 3 = 15 MARKS)

11.	Write any 5 Electrical Safety Rules.

12.	Explain Ampacity. List the factors it depends on.

13. 	What to do in an electrical emergency like Electric shock?

14.	What work practices help to protect against electrical hazards?

15. 	What are the benefits of having a smart meter?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the mathematical principle of Electrical Safety.

(OR)

17. 	Brief the effects of Electric Currents Passing through the Human Body.

18.	Explain the Safety Against Over voltages with neat diagram.

(OR)

19.	What is Insulation? Explain the Insulation of Conductors.

20.	How to avoid Outdoor Electrical Accidents? Explain.

(OR)

21.	Explain the safety precautions while using Battery operated products.

22. 	What causes Electric shocks? Explain.

(OR)

23.	Write Short notes on

a.	Arc Blast Pressure.

b.	Arc Flash.

24. 	Explain the components of Watt-hour meter with neat diagram.

(OR)

25.	Explain the issues in using Smart Meters.