Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	HIGH VOLTAGE ENGINEERING					      	     Time : 3 hours

Subject Code:	12EE257 / EE271				 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define ionization.

2.	Define attachment collisions.

3.	Define electronegative gas with an example.

4.	Define breakdown voltage.

5.	Draw the circuit diagram for voltage doubler circuit.

6.	Give a standard value of lightning based on Indian Standard.

7.	List out various methods to measure ac voltage of power frequency.

8.	List out various methods to measure high direct currents.

9.	Mention the classification of overvoltage test.

10.	Define creepage distance.

PART – B  (5 x 3 = 15 MARKS)

11.	Brief about breakdown in gas.

12.	Write a short note on time lag.

13.	Show how dc voltage is generated using Vande-Graff generators.

14.	Write short notes on magnetic links.

15.	Discuss briefly about Disruptive Discharge Voltage.

PART – C  (5 x 15 = 75 MARKS)

16. 	Discuss briefly about the following (a) Ionization by collision (b) Photo ionization.

(OR)

17. 	Explain briefly about the following: Electron emission (a) due to positive ion impact.

(b) due to photons.  (c) due to metastable and neutral atoms.

18. 	Explain briefly about townsend’s current growth equation and derive the breakdown criterion.

(OR)

19.  	Explain in detail about the mechanism of breakdown in solid dielectrics.

20. 	Explain briefly about the generation of power frequency ac voltage using cascaded transformers.

(OR)

21. 	Write detailed notes on tripping and control of impulse generators.

22.  Explain in detail about impulse voltage measurements using CRO.

(OR)

23.  Discuss in detail about the measurement of dielectric loss using Schering bridge.

24.  Explain in detail about testing on insulators.

(OR)

25.  Discuss briefly about testing of bushings.