Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	ELECTRICAL MEASUREMENTS					      	     Time : 3 hours

Subject Code:	12EI208											       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The quantity intended to be measured is called _____________.

2.	____________ is the degree of closeness with which the reading approaches the true value of the quantity to be measured.

3.	The burden of a current transformer is expressed in terms of VA rating of transformer. (Y/N)

4.	___________ bridge is suited for low Q coils measurement.

5.	____________are high accuracy class electrical devices used to isolate or transform voltage or current levels.

6.	An ___________is an instrument used for measuring the electric power.

7.	____________ bridge has the advantage that the balance equation is independent of frequency.

8.	The modified Maxwell’s bridge is known as_____________.

9.	What is the difference between the following potentiometers, as indicated by their respective symbols?

10.	The recording pen in a measuring instrument is called a ___________.

PART – B  (5 x 3 = 15 MARKS)

11.	Give a block diagram of fundamental elements of an instrumentation system.

12.	Give a detailed diagram of a D’Arsonval Galvanometer.

13.	Brief on current transformer.

14.	Draw the Phasor diagram of Desaughty’s Bridge.

15.	List the advantages of a Magnetic tape recorder.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail the need for measurement systems and their classifications.

(OR)

17.	List out the static and dynamic characteristics of Instruments.

18.	With a neat diagram explain the working of a PMMC Instrument.

(OR)

19.	With a neat diagram explain the working of a multimeter.

20.	Explain the principle and construction of a moving iron instrument in detail.

(OR)

21.	Explain the operation of watt-hour meter with corresponding diagram.

22.	Derive the condition for balance in a Wheatstone’s bridge.

(OR)

23.	Derive the balance equations for Maxwell’s bridge supporting it with corresponding diagram.

24.	With a neat diagram explain the strip chart recorder.

(OR)

25. 	With a neat diagram explain the XY recorder.