Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	ELECTRONIC INSTRUMENTATION					      Time : 3 hours

Subject Code:	12EI223								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The basic D arsenval movement can be converted as DC ammeter by adding a ________.

2.	The function of multiplier in a DC voltmeter is to ________ through meter movement.

3.	In a CRT, the electron beam is converged by using ________.

4.	What is time base generator?

5.	The basic blocks of sine wave generator are ________ and ________.

6.	A square wave generator ________ duty cycle.

7.	Find the resolution of 3 1/2digit display if the full scale reading is 10 volts.

8.	Mention the advantages of digital instruments.

9.	Define virtual instrument.

10.	Virtual instrument cannot perform the function of traditional instruments. True/False

PART – B  (5 x 3 = 15 MARKS)

11.	Define loading effect.

12.	Briefly state amplitude modulation.

13.	List the requirements of signal generator.

14.	What is a digital tachometer?

15.	Compare the merits of conventional and virtual instruments.

PART – C  (5 x 15 = 75 MARKS)

16.	Illustrate with suitable sketch about the working of energy meter.

(OR)

17.	Explain the functions of basic electronic multimeter. Give its applications.			     (10+5)

18.	Explain the block diagram of a cathode ray oscilloscope. Mention its applications. 	     (10+5)

(OR)

19.	Sketch the sampling oscilloscope with its salient features.

20.	Discuss the working of function generator with a block diagram.

(OR)

21.	Present the details of the spectrum analyser.

22.	Explain the principle of digital frequency meter in detail.

(OR)

23.	What are the applications of shaft encoder? Explain one with an example.			     (5+10)

24.	Details the components of virtual instrument in engineering applications.

(OR)

25.	Design a virtual instrument to realize the function of wave generation.