Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	INDUSTRIAL DATA COMMUNICATION  AND NETWORKS													      	     							      Time : 3 hours

Subject Code:	12EI226								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	A ____________ System is designed for sending data in single directions.

2.	The number of signal changes per second is defined as ____________.

3.	OSI reference model is a ____________.

a.	Protocol 	b.	Standard 	c.	model for designing a flexible network architecture

d.	organization

4.	RS485 is a parallel interface standard for peer communication. True/False

5.	____________ Serial interface standard operates in tri-state.

6.	How many lines are required to serially transmit a data using balanced transmission in full duplex mode?

7.	EOT in BSC protocol means ____________.

8.	A switch is a ____________.

9.	An IP address is a numeric quantity that identifies -
a. a network adapter to other devices on the network
b. the manufacturer of a computer
c. the physical location of a computer
d. none of the above

10.	Data can be exchanged in two modes in Modbus. They are ____________ and ____________.

PART – B  (5 x 3 = 15 MARKS)

11.	Write the signalling details of RS232.

12.	What is ARQ approach in flow control mechanism? How is it different from simple stop and wait approach?

13.	With an example explain how is CDMA implemented?

14.	Draw the response frame of MODBUS protocol for reading a register of address 000B with content FEAB.

15.	What are the layers in TCP/IP architecture?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	What is the need of UART in RS-232 serial interface?                			 		    (3)

b.	Describe how UART functions as a transmitter and receiver.     					  (12)

(OR)

17.	a.	Discuss how data coding is done using ASCII and Gray codes. 			 		  (10)

b.	What is synchronous and asynchronous communication?        					 	   (5)

18.	Explain in detail about the most commonly used parallel interface standard IEEE 488.

(OR)

19.	Explain the architecture of USB with the reference to OSI layers.

[P.T.O]

20.	Explain in detail HDLC protocol.

(OR)

21.	Discuss the functions of individual layers of OSI reference model for communication between open systems	.

22.	Discuss the architecture of field bus communication protocol.

(OR)

23.	Elaborate on the industrial protocol that superimposes digital information over the existing 4mA to 20mA current loop.

24.	Discuss in detail about the IEEE802.3 LAN standard.

(OR)

25.	a.	Explain the different controlled media access control mechanisms.	           			  (10)

b.	Differentiate circuit switching and packet switching.  			                   			    (5)