Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May - 2016

Subject Title :	INSTRUMENTATION AND CONTROL IN PAPER INDUSTRIES

Time: 3 hours

Subject Code:	12EI237							 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	_________ makes bleaching of pulp easier and the paper produced has better strength.

2.	Multi-effect evaporator and disc evaporator concentrate the black liquor from _________ % solid to _________ % solid.

3.	What is white water?

4.	_________ Valve reduces the pressure of the stream from 80atm to 1atm before entering blow tank.

5.	What is the need for temperature control in paper industries?

6.	_________ is removed by pressing with pressure roll, water mark roll and suction roll.

7.	What is white liquor?

8.	Define Density.

9.	List any two computer applications in Paper Industries.

10.	Computer installation increases _________ and eliminates the _________ errors.

PART – B  (5 x 3 = 15 MARKS)

11.	Give the difference between chemical pulping and Mechanical Pulping.

12.	What are the different types of solid level sensors?

13.	What are the various process parameters associated with white liquor flow control?

14.	Where consistency control is applied and why?

15.	Write notes on graphic display.

PART – C  (5 x 15 = 75 MARKS)

16.	Discuss in detail about the mechanical and chemical pulping process. Compare their merits and demerits.

(OR)

17.	Explain with the neat sketch, the basic paper making process in paper industries.

18.	Describe the principle and operation of any two types of pressure measurement.

(OR)

19.	Explain the following:																(7+8)

a.	Electromagnetic Flow Meter           b.	RTD based Temperature measurement

20.	Draw neatly and explain the temperature control of Yankee dryer.

(OR)

21.	Discuss in detail with relevant flow diagram about the control of basis weight.

[P.T.O]

22.	Describe the control technique used in dissolving tank density control.

(OR)

23.	Explain the following:                                                                                                            (7+8)

a.	Condensate conductivity control		b.	Stock chest level control

24.	Explain the applications of computer in pulping process control and also mention the role of direct digital process control in paper mill.

(OR)

25.	Discuss in detail about the control of paper thickness with aid of computer.