Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May - 2016

Subject Title :	INSTRUMENTATION AND CONTROL IN IRON AND STEEL INDUSTRIES											      Time : 3 hours

Subject Code:	12EI238								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is thermal lance?

2.	What is the use of Tundish in the steel plant?

3.	The melting point of carbon steel is ___________o C.

4.	How does carbon affects the properties of steel?

5.	What are the measuring ranges of different thermocouple?

6.	The relative density of a liquid is determined by using __________.

7.	What is the purpose of a wastewater treatment plant?

8.	Name any two mould level sensors?

9.	What is data logging?

10.	List the various gases to be controlled in BOF?

PART – B  (5 x 3 = 15 MARKS)

11.	Draw the process flow diagram of steel making process.

12.	What are the steps involved in the process of making sand casting?

13.	What are the graphic displays and alarms used in iron and steel industry?

14.	Write short notes on Annealing process control.

15.	What are the applications of computers in iron and steel industry?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the functions of blast furnace and stoves in iron and steel industry.

(OR)

17.	With a neat sketch explain the Basic Oxygen Furnace (BOF) in steel making process.

18.	Name the various molding process in steel casting. Explain any one in detail.

(OR)

19.	Explain the different types of rolling processes and also discuss their advantages and

disadvantages.

20. 	What are the methods used for non-contact type thickness measurement? Explain in detail the working of any one method.

(OR)

21.	With the neat diagram explain the function of pressure sensor and flow sensor in steel industry.

22.	With a neat sketch describe the operation of strand casting mould level control in steel

manufacturing plant.

(OR)

23.	Draw the schematic diagram of stoves used in iron and steel industries and discuss the

various controls needed in stove combustion system.

24.	Explain in detail about the role of center utility dispatch computer in control and monitoring

the process of steel industry.

(OR)

25.	With the suitable block diagram explain about how the computer control helps to run the

steel rolling mill for desired output and accuracy.