Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	ULTRASONIC INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	12EI239								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define wavelength.

2.	__________ is the resistance offered to the propagation of ultrasonic wave in a material.

3.	The Magnetostrictive Effect is most effective in metals such as

a.	Nickel 	b.	iron 	c.	cobalt 	d.	all of these.

4.	Name any two transducer material used for construction of piezoelectric transducer.

5.	The density of pure liquids, liquid mixtures and solutions can be measured using __________.

6.	Name any sensor which is used to measure temperature by the property of ultrasonic.

7.	Define different sonar.

8.	Comment on thickness measurement using ultrasonic waves.

9.	Differentiate simple and compound scans.

10.	Maximum energy absorption in soft tissues ranges between____________.

PART – B  (5 x 3 = 15 MARKS)

11.	Comment on intensity of ultrasonic wave.

12.	Compare the merits and demerits of magnetostriction method of ultrasonic generation.

13.	Describe pulse echo method of ultrasonic testing.

14.	What is Sonar?

15.	Write short notes on Acoustic holography.

PART – C  (5 x 15 = 75 MARKS)

16.	Derive the expression for progressive waves, its transmission and intensity.

(OR)

17.	Briefly explain different modes of ultrasonic waves with relevant examples.

18.	Give a detailed description on cross correlation method of ultrasonic measurement.

(OR)

19.	What is piezoelectricity? Comment on construction of ultrasonic using piezoelectric transducer.

20.	Write short notes on:

a) Pulse echo testing	b) Direct contact testing	c) Resonance type testing.

(OR)

21.	How is an Ultrasonic method of flaw detection done? Elaborate.

22.	Comment on SONAR. Give detailed notes on the Side beam, multi beam and Doppler sonar.

(OR)

23.	Explain in detail how ultrasonic is used in the application of rail inspections.

24.	Describe in detail on Ultrasonic Applications in Medical Therapy.

(OR)

25.	Give notes on medical imaging using ultrasonic applications.