Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	POWER PLANT INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	12EI242								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The function of turbine is converting ___________ energy into ___________.

2.	___________ is the major disadvantage of solar power.

3.	A condenser in a thermal power plant condenses steam coming out of ___________.

4.	Mention the range of Pressure transmitter output.

5.	Name the two major circuits in steam power plant.

6.	pH of feed water to boiler is ___________.

7.	Energy available in fuels is stored as ___________.

8.	The equipment used for measurement of speed of turbine is ___________.

9.	___________ Valve is used as safety mechanism in turbine monitoring system.

10.	The unit of velocity of vibration is ___________.

PART – B  (5 x 3 = 15 MARKS)

11.	Name the commonly used moderators in nuclear power plants.

12.	Why is drum level measurement very important? How is it taken care of?

13.	Write water treatment process in thermal power plant.

14.	What are the methods of measurement of combustion air flow?

15.	How steam turbines are be classified?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Draw and mention the piping and instrumentation diagram of a boiler system in a power 			plant. 																		    (8)

b.	Briefly explain the importance of instrumentation in power generation.	 			    (7)

(OR)

17.	a.	With neat sketch explain the working principle of Nuclear power plant.				  (10)

b.	Write short note on Wind power plant with neat sketch.							    (5)

18.	a.	Explain briefly about Smoke measurement with clear diagram. 					    (7)

b.	Explain in detail about the Drum level measurement with neat sketch. 				    (8)

(OR)

19.	a.	Explain in detail about the radiation detectors with clear diagram, principle, Applications, 	advantages and disadvantages.													    (8)

b.	Explain briefly about Dust measurement with clear diagram. 						    (7)

20.	a.	Explain in detail about the analysis of impurities in feed water.						    (7)

b.	Explain in detail about Liquid chromatography.									    (8)

(OR)

21.	List the various parameters to be monitored in feed water and also explain the methods of measuring pH value and dissolved oxygen content.

[P.T.O]

22.	a.	With neat sketch explain the drum level control loops in water circuit.				    (8)

b.	Explain in detail about Air / Fuel ratio control.									    (7)

(OR)

23.	a.	What are the difference levels of DCS in power plant and explain each of its level.	  (10)

b.	Write about super heater control and attemperator. 								   (5)

24.	a.	Explain in detail about Speed Monitoring and Control.							   (7)

b.	Explain briefly about Steam pressure control with clear diagram.					   (8)

(OR)

25.	a.	Explain in detail about the Vibration monitoring and control.						  (10)

b.	Why should be the pressure of steam be raised in the boiler and turbine?			    (5)