Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	METROLOGY AND QUALITY CONTROL/METROLOGY			      					     														      Time : 3 hours

Subject Code:	12ME204 / ME214								       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	In measuring instrument, ___________ damping easy.

2.	Define accuracy.

3.	List the various linear measurements.

4.	Name any two materials commonly used for gauges.

5.	LVDT is a ___________ transducer.

6.	___________ is used for the measurement of surface roughness.

7.	Define module.

8.	Define periodic error.

9.	The ___________ based gauge is thus ideal for measuring and data processing instrument used in quality control.

10.	___________is a software tool that makes it possible to inspect physical models using computer – aided design programs.

PART – B  (5 x 3 = 15 MARKS)

11.	What is the relationship between sensitivity and range?

12.	Write down the applications of limit gauges.

13.	List the advantages of Mechanical comparator.

14.	What is gear runout?

15.	What are the elements found in a surface texture?

PART – C  (5 x 15 = 75 MARKS)

16.	Give the structure of generalized measuring system and explain.

(OR)

17.	Describe the different types of errors in measurement and their causes.

18.	Explain the working principle of AC laser interferometer. How the straightness is measured?

(OR)

19.	Explain with a neat sketch the construction and measurement using optical flat.

20.	With neat sketch explain the construction and working principle of pneumatic comparator.

(OR)

21.	Explain with a schematic diagram the construction and working principle of Tomlinson surface meter.

22.	Explain the construction and working of any two types of CMM, errors, and applications of CMM.

(OR)

23.	Explain necessary steps in connection with using of control chart.

24.	What is auto collimator? With a neat sketch explain the working principle of auto collimator.

(OR)

25.	Explain machine vision and vision system.