# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title:	MATERIALS CHARACTERIZATION				       Time : 3 hours

# Subject Code:	12ME348								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Discuss the working, construction and performance of Scanning Electron microscope 	with a neat sketch in detail. 												      (15)

b.	Explain the applications of scanning electron microscope. 							 (5)

2.	a.	Appraise the following terms used in Optical Microscopy;

i)	Resolving power 	ii)	Numerical aperture	iii)	depth of focus 			      (10)

b.	Describe the concept of Polarisation in light. 								      (10)

(OR)

3.	a.	Distinguish between bright field and dark field microscopy. 					      (10)

b.	Demonstrate the procedure adopted for microhardness testing in detail. 			      (10)

4.	a.	Discuss the principle of Bragg’s law in determination of wavelength of the incident 	wave.      																      (10)

b.	Describe the working, construction and principle of X-ray diffractometer. 		      (10)

(OR)

5.	a.	Discuss the applications of X ray diffraction in material characterization in detail.     (10)

b.	Give the advantages and limitation of X-ray diffraction techniques. 			      (10)

6.	a.	Explain the principle of working and constructional of Electron Spectroscopy for 	Chemical Analysis (ESCA) with a neat sketch. 								      (15)

b.	Give the several applications of ESCA. 											(5)

(OR)

7.	Evaluate the principle of working and constructional features of X-ray photo electron spectroscopy with a neat sketch in detail.

8.	a.	Discuss the principle of Thermogravimetry in detail with a neat sketch. 			      (15)

b.	Give the advantages and limitations of Thermogravimetry.    						 (5)

(OR)

9.	a.	Describe the salient features of Gas Chromatography in detail. 				      (15)

b.	Give several application of Gas Chromatography. 								 (5)