Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	VACUUM AND THIN FILM TECHNOLOGY		      	     Time : 3 hours

Subject Code:	12PH213								 		       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	_________ is a device that reduces the pressure of gas in a container.

2.	Neither the energy distribution nor the average energy is a function of _________.

3.	_________ pumps use no oil and operate like jet engines.

4.	Which gauge is also called ionization gauge?

5.	In the pressure range above 0.1 Pa, _________ and ________ transfer techniques can be used for pressure measurement.

6.	_________ gauges incorporate the principle of energy transfer between a hot wire and a room temperature gauge wall.

7.	The type of adsorption due to the formation of chemical bond is called _________.

8.	In vacuum evaporation the vapor striking the surface per unit area at particular time is called _________.

9.	_________ sputtering is not limited to electrical conductive targets.

10.	_________ is an electronic instrument that controls the voltage difference between a Working Electrode and a Reference Electrode.

PART – B  (5 x 3 = 15 MARKS)

11.	Give the importance of vacuum coating in thin film technology.

12.	What are the advantages and drawbacks of turbo molecular pump?

13.	Brief the techniques used to calibrate high vacuum gauges against primary standards.

14.	Explain the principle of chemical vapor deposition.

15.	What is LASER ablation and what are its benefits?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Define mean free path. Does it depend on the chamber pressure?					    (3)

b.	Determine the mean free path of an electron and ion encountering gas molecules of diameter α.																	  (12)

(OR)

17.	a.	Define thermal transpiration.													    (3)

b.	Explain in detail, the transport phenomena of gas molecules based on viscosity.		  (12)

18.	Explain with suitable diagram the principle, instrumentation and operation of turbo molecular of pump.

(OR)

19.	Explain with neat diagram, the pumping mechanism and working of diffusion pumps.

20.	a.	With suitable sketch, explain in detail, the construction and working of cold cathode 	gauge. 																		  (12)

b.	Mention the advantages and disadvantages of cold cathode gauge.					   (3)

[P.T.O]

(OR)

21.	a.	What are the differences between direct reading gauges and indirect reading gauges?   (3)

b.	Explain the working of Diaphragm and Bourdon gauge.							  (12)

22.	a.	Define interface. Give a schematic representation of an interface.					    (3)

b.	With a neat sketch explain the various interfacial processes.						  (12)

(OR)

23.	With a neat sketch, explain in detail the various stages in thin film growth.

24.	Discuss the principle and working of RF sputtering technique in the deposition of thin film. Mention its advantages and disadvantages.

(OR)

25.	With suitable diagram explain the construction and working of molecular beam epitaxy.