# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	MEDICAL RADIATION DOSIMETRY				       Time : 3 hours

# Subject Code: 	12PH324								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1. 	Compulsory:

a.	Explain the Bohr’s model of the hydrogen atom.								      (10)

b.	Explain the various modes of radioactive decay.								      (10)

2. 	Explain the interaction of photons with matter and their importance in medicine.

(OR)

3.	a.	Explain the interaction of electrons with matter. 								      (10)

b.	Explain the interaction of neutrons with matter.								      (10)

4.	Derive the relation between the following.

a.	Energy fluence and kerma (photons)											(5)

b.	Fluence and dose (electrons)													(5)

c.	Kerma and dose (charged particle equilibrium)									(5)

d.	Collision kerma and exposure													(5)

(OR)

5.	a.	Explain the Bragg–Gray cavity theory.											(5)

b.	Define Linear attenuation coefficient, Mass Stopping power, Linear energy transfer, Activity and Effective dose. 												     (10)

c.	Discuss the charged particle equilibrium condition for indirectly ionizing radiation from external sources. 																(5)

6.	a.	Distinguish between accuracy and precision. 									(4)

b.	Explain the construction and working of Cylindrical (thimble type) ionization chambers.																					(6)

c.	Compare the advantages and disadvantages of commonly used dosimetric systems.   (10)

(OR)

7.	a.	Explain the properties of dosimeters.										      (10)

b.	Explain in details about film dosimetry.  									      (10)

8.	a.	Discuss the reference dosimetry with ionization chambers.						(6)

b.	Write the chamber signal correction for Air temperature, pressure and humidity effects.																					(4)

c.	Describe the absorbed dose to water based protocol for determination of absorbed dose using ionization chambers. 											             (10)

(OR)

9.	a.	Compare the steps involved in air kerma in air and absorbed dose to water based 	protocols for determination of absorbed dose using ionization chambers.  			(4)

b.	Explain the practical aspects of calibration of megavoltage photon and electron beams. 										 										      (16)