Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	EXPERIMENTAL STRESS ANALYSIS				      	     Time : 3 hours

Subject Code:	13AE211										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Accuracy of a Measuring instrument.

2.	What are types of electrical resistance strain gauges?

3.	What is the gauge factor for Nicrome V and Isoelastic material?

4.	What are the methods used to Produce of Plane-Polarized Light?

5.	Sketch the stressed photoelastic model in circular polariscope.

6.	Describe wave plate.

7.	Describe wave front.

8.	Define Stress optic law.

9.	What are the separation techniques used in photoelasticity?

10.	Write the limitations of liquid Penetrant testing.

PART – B  (5 x 3 = 15 MARKS)

11.	Shortly explain working principle of the Acoustical Strain Gauge with figure.

12.	Shortly explain the working principle of capacitance strain gage.

13.	Shortly explain working principle Unbonded-Non Metallic strain gauges.

14.	Shortly explain the Babinet compensation method.

15.	Differentiate between Destructive test and Non-Destructive test.

PART – C  (5 x 15 = 75 MARKS)

16.	Briefly explain the working principle mechanical and optical strain gages.

(OR)

17.	a.	Briefly explain different type of the electrical-resistance strain gauge construction.	  (10)

b.	Write short notes on tape method of installation for metal-foil strain gages. 			    (5)

18.	Derive the expression for change in voltage ∆E, range and sensitivity of the potentiometer circuit.

(OR)

19.	a.	Drive the expression of principle stresses equation for three-element rectangular rosette 	with sketch.																	    (7)

b.	Design a load cell to measure a 50 MN axial tensile load. Specify the size and shape of the mechanical member, the gage layout, the circuit design and the voltage required.  	    (8)

20.	Sketch a plain polariscope and explain the effects of a stressed model and the fringes obtained in it.

(OR)

21.	Explain the isochromatic and isoclinic fringe patterns.

[P.T.O]

22.	Briefly explain following techniques for locking deformations in three-dimensional photoelasticity:

a.	The stress-freezing method.

b.	The creep method

(OR)

23.	Briefly explain the Grid method of strain analysis.

24.	Briefly explain the following NDT:

a.	Liquid penetrant method.

b. 	Magnetic particle inspection.

(OR)

25.	Briefly explain the ultrasonic flaw detection techniques.