# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	DISTRIBUTED GENERATION						       Time : 3 hours

# Subject Code: 	14EE3024								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1. 	Compulsory:

a.	Summarize distributed generation – Micro Grid and Smart Grid. 				      (15)

b.	Compare Power Grid with Micro Grid.											(5)

2. 	Discuss the impact of DG on transmission system and central generation.

(OR)

3. 	Explain how to interface with the Grid – IEEE Standards.

4. 	a.	Discuss how Micro turbine is used to generate power.						             (10)

b.	Describe various types and working of Wind Generators.						      (10)

(OR)

5. 	a.	Discuss principle of working of Fuel cell, with diagram.						      (10)

b.	Summarize various types of Geo thermal system with its working.				      (10)

6. 	Discuss Power Electronics topologies for Reciprocating Engine.

(OR)

7. 	Summarize Power Electronics topologies Battery Energy storage system.

8. 	a.	Discuss DG Grounding issue.													(5)

b.	Summarize transient response and fault behaviours in DG.						      (15)

(OR)

9. 	a.	Discuss DG Design considerations to meet Power Quality Requirements.		      (10)

b.	Explain current Distortion from power electronics of DG.						      (10)