# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	MEDICAL IMAGING TECHNIQUES				       Time : 3 hours

# Subject Code: 	14EI3046								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the hazardous effects which happen during Radiation.

b.	What are the prevention and protection methods for the radiation effects?

2.	a.	What are the wavelength regions of X-rays?										(5)

b.	Explain the X-ray generation with its Instrumentation.						      (15)

(OR)

3.	a.	Explain the operation of X -ray tube. 										      (12)

b.	What are the applications of X- rays in Medical Field?		 					(8)

4.	a.	What are the differences between digital and conventional radiography?   		      (10)

b.	Explain Angiography. 						 							      (10)

(OR)

5.  	a.	Explain the applications of fluorescence in Medicine. 						      (10)

b.	Discuss the blocks of fluorometer. 											      (10)

6.  	a.	Explain Computer Aided tomography.				 						      (12)

b.	What are the differences between X- ray and tomography methods? 				(8)

(OR)

7.  	a.	Under what situations MRI is suggested? Explain. 							      (10)

b.	Explain the principle of MRI. 												      (10)

8.  	a.	Explain any two detectors with its principle.	 								      (15)

b.	What are the wavelengths of alpha and gamma radiations? 						(5)

(OR)

9.  	a.	What is chemotherapy? Explain.											      (10)

b.	What are the effects of nuclear radiation on human body?    					      (10)