# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	DESIGN OF TALL BUILDINGS						       Time : 3 hours

# Subject Code: 	14CE3015								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.  	Compulsory:

In modeling for analysis, an attempt to analyse a high-rise building and account accurately for all aspects of behaviour of all the components and materials would be virtually impossible. Simplifying assumptions are necessary to reduce the problem to a viable size. Describe the most common assumptions to be made.

2.  	Write a brief note on the following:

a.	Gravity loading.

b.	Impact gravity loading.

c.	Construction loads and

d.	Wind loadings.

(OR)

3. 	a.	List out the types of structural forms.      										(5)

b.	Describe braced frame structure.                                                              			     (15)

4. 	Define bracing. Describe the different types of bracing with neat sketches.

(OR)

5. 	Write about behaviour of infilled frames.

6. 	Describe coupled shear wall structure and their behaviour.

(OR)

7.  	a.	Give the principal advantages of accounting for the horizontal interaction in designing a     		wall frame structure.															 (5)

b.	Give a detailed report on the behaviour of symmetric wall frames.                              (15)

8.    	Give a detailed note on P-Delta effect.

(OR)

9. 	a.	In the construction phase, in addition to creep and shrinkage, elastic shorting will occur

in the vertical elements of the lower levels. Write about elastic shortening.   			(5)

b.	Write about effects of deferential moments.                                                                 (15)