# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	INSTRUMENTATION AND ERROR ANALYSIS             Time : 3 hours

# Subject Code: 	14ME3043										Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1. 	Compulsory:

Explain about the role of uncertainty analysis in experimental planning.

2. 	Explain with help of neat sketch about vortex-shedding flow meter and ultrasonic flow meter.

(OR)

3.	Explain the temperature measurement by mechanical and mention some mechanical        properties of some commonly used thermal materials.

4.	Explain the temperature measurement under non steady state condition on thermal system.

(OR)

5.	Write short notes on following with neat diagram

a.	Thermocouples.

b.	Thermistors.

6.	Explain the thermal conductivity of liquids and gases using guarded hot plate method.

(OR)

7.	What are the types collectors used in solar energy? Explain any one of the solar collector with neat sketch.

8.	Explain the statistical analysis of experimental data using sample standard deviation method.

(OR)

9.	Explain the pressure measurements of following

a.	Dead weight tester.

b.	Mcleod gauge.