# Reg. No.__________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

# Subject Title: 	NANOMATERIALS CHARACTERIZATION METHODS												       									Time : 3 hours

# Subject Code: 	16NT3001										 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the tunnel effect in quantum mechanics with neat sketch.

b.	Discuss in detail the principle, instrumentation, working and applications of scanning tunneling microscopy.

2.	a.	Classify solids based on their crystallinity with diagrams.

b.	Explain the working principle of X- Ray diffraction.

c.	Derive the Scherrer’s formula to calculate the average grain size.

(OR)

3.	a.	Compare neutron diffraction with electron diffraction in detail.

b.	Write the applications of RHEED.

c.	Describe in detail the dynamic light Scattering (DLS) and its applications.

4.	a.	Define the term indentation. Differentiate microindentation with nanoindentation.

b.	Describe the principle of nanoindentation and explain the theoretical calculation of hardness by the indentation process.

(OR)

5.	a.	Discuss in detail the different types of indentors used for nanoindentation.

b.	Write a detailed note on the applications of nanoindentation with necessary examples.

6.	a.	Write the principle of electron microscopy.

b.	Discuss how electron microscopy is more superior than optical microscopy.

c.	Distinguish TEM with SEM.

(OR)

7.	a.	Explain the principle, working and applications of XPS analysis.

b.	Discuss in detail the different modes of operation in SEM and the limitations of EDX.

8.	a.	Derive Abbe’s equation and also explain the calculation of resolving power.

b.	How image formation occurs in microscopy? Also explain the interaction of electrons with samples.

c.	Explain the principle of scanning near- field optical microscopy.

(OR)

9.	a.	Discuss in detail the optical resolution of scanning near field microscopy (SNM).

b.	Mention the applications of SNM in solid state chemistry.

c.	Write the limitations of SNM.