Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	NETWORKS & PROTOCOLS FOR INSTRUMENTATION & CONTROL													      	     				     Time : 3 hours

Subject Code:	09EI226								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	List out various physical standards.

2. 	What is meant by nipple?

3. 	What is the maximum data rate is possible in RS422 interface standard?

4.	The RTS/CTS lines in RS 232 are examples of timing lines. (True/False)

5.	RS 485 which supports full duplex communication has unbalanced transmission lines. (True / False)

6.	The logical addressing is done in _________ layer.

7. 	The term HART stands for _________.

8.	What is a router?

9.	What is meant by network topologies?

10. 	Differentiate between token bus and token ring.

PART – B  (5 x 3 = 15 MARKS)

11.	Differentiate between synchronous and asynchronous system.

12. 	What is the need for 4-20mA current loop in process industries?

13. 	What are the responsibilities of the network layer?

14. 	What is Interoperability?

15.	Compare circuit and packet switching.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain the three communication modes.				          					    (5)

b.	Describe the message format and error detection in asynchronous communication systems.  																					  (10)

(OR)

17.	Explain the UART transmission and receiving mode of operation.

18. 	Describe the working RS232 serial data communications interface standards and its mechanical 
       characteristics.

(OR)

19.	Enumerate the salient features of GPIB in detail.

20. 	Explain in detail about HDLC protocol and compare with SDLC.

(OR)

21.	Draw the OSI model and explain the functions performed by each layer of the Model.    Explain how data is transmitted using this model.

22.	Illustrate the functions of Allen Bradley protocol.

(OR)

[P.T.O]

23.	How does HART help in smart instrumentation? Explore the various possibilities available with HART to design a smart system.

24.	Discuss in detail about the IEEE 802.3 LAN standard.

(OR)

25.  	Discuss in detail on various internet control protocols.