Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	Measurement and Instrumentation 	      	     	      Time : 3 hours

Subject Code:	11EE225/ 12EE229/ EE262	 				       	       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	State two sources of error in moving iron instrument.

2. 	Name the different essential torques in indicating instruments.

3. 	State two adjustments which are possible in induction type energy meter.

4. 	What is meant by calibration?

5. 	Name the bridge used for measuring very low resistance.

6. 	List the various detectors used for AC bridges.

7. 	Write any two examples for passive transducer.

8. 	Give a list of metals used in thermistors.

9. 	What is the use of spectrum analyzer?

10.	What are the applications of XY recorder?

PART – B  (5 x 3 = 15 MARKS)

11.	What are the classifications of indicating instruments?

12.	What is creeping? What are the causes of creeping in an energy meter?

13.	With a neat circuit diagram, write the balanced equation of Wheatstone bridge.

14 	What are the advantages of Resistance Thermometers?

15.	Write notes on Harmonic Analyzers.

PART – C  (5 x 15 = 75 MARKS)

16. Describe the construction and working of permanent magnet moving coil instrument. Also

derive the expression for deflection

(OR)

17. 	With neat figure, explain the construction and operation of attraction and repulsion type moving iron instrument.

18. With circuit and phasor diagram, explain the working of single phase ac energy meter.

(OR)

19. Describe the constructional details of an electro dynamometer type wattmeter. Derive the expression for torque when the instrument is used on ac.

20. 	Describe the working of a Schering bridge. Derive the equation for capacitance and dissipation

Factor.

(OR)

21.	Write short notes on the Measurement of

a.	Low Resistance																    (5)

b.	High Resistance																    (5)

c.	Medium Resistance 															    (5)

[P.T.O]

22. 	Elaborate the principle and operation of LVDT with neat sketch.

(OR)

23.	a.	Write notes on the measurements of temperature.					    			    	    (8)

b.	Briefly describe the working of piezoelectric transducers.					       		    (7)

24. 	Describe the working principle of

- Ramp type Digital Voltmeter 						               					    (7)

- Integrating type Digital Voltmeter				  	               					    (8)

(OR)

25. 	Explain, with suitable circuit diagram, the working of an XY recorder. Write the advantages of

XY recorder.