Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	BIOMEDICAL INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	EI252								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is ECG? What are the three types of Electrode systems?

2.	Define the term ‘Early Receptor Potentials’.

3.	Which device is used to determine the percentage of oxygen saturation in blood?

4.	List out two factors which affect source impedances in Flowmeters.

5.	What is the ratio of pacemaker pulses?

6.	What is meant by Diathermy?

7.	Differentiate between Microshock and Macroshock.

8.	Give the equation for Transmittance.

9.	Define Biotelemetry.

10.	Give applications for Computer Tomography.

PART – B  (5 x 3 = 15 MARKS)

11.	Discuss the development of Resting Potential and Action Potential.

12.	Using any one method, explain how Blood pressure is measured?

13.	Explain Anesthesia Machine with a block diagram.

14.	How PO2 electrode analysis is done?

15.	List out the applications of X-Ray Examination.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	With a neat diagram explain Central Nervous System and label them.				    (8)

b.	How Muscular System are responsible for all movement of Human body?  			    (7)

(OR)

17.	a.	Explain how gas exchange between blood and alveoli is taking place by respiratory cycle 	with a neat diagram.															  (10)

b.	Draw Neuron and label its parts.												    (5)

18.	a.	Discuss how blood rate is measured using Ultrasonic blood flowmeters.				    (8)

b.	Explain the basic function of an Audiometer with a suitable block Diagram.			    (7)

(OR)

19.	a.	Explain the Fick’s method for the determination of Cardiac output.					    (8)

b.	What are Oximeters? Describe any one of the oximeters with a suitable diagram.		    (7)

20.	a.	What is meant by Defibrillators? Give the difference between external and internal 	defibrillators.																  (10)

b.	Brief on Peripheral Nerve Stimulator.											    (5)

(OR)

21.	a.	Why Heart - Lung Machine is required? And also draw the Schematic Cardiovascular 	Circulation diagram and explain in detail. 										  (10)

b.	Draw the block diagram of Short wave diathermy unit and explain its working details.(5)

[P.T.O]

22.	Write short notes on

a.	Filter Photometer.															    (7)

b.	Chromatography.																    (8)

(OR)

23.	a.	How Electrical Safety measures are maintained in Hospitals to avoid shock?			    (8)

b.	With a neat diagram explain about PH value with a suitable example.				    (7)

24.	Draw the Block Diagram and explain the Digital Real time Ultrasonic Scanner system.

(OR)

25.	With a neat diagram explain the Block diagram of Magnetic Resonance Imaging (MRI) system.