Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	BASIC ELECTRICAL ENGINEERING				      	     Time : 3 hours

Subject Code:	09EE101/12EE101/DEE101/EE101				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The conductance of an 8  resistance is __________ mho.

2.	Current flowing through __________ circuit is same.

3.	Write the equation for self inductance.

4.	Define reluctance.

5.	__________ transmission system is more economical when the distance of transmission is 	more than 600km.

6.	Peak factor of a sinusoidal voltage is __________.

7.	If a lap wound DC generator has P poles, Z conductors and A parallel paths, the number 	of conductors per path is calculated by __________.

8.	Transformer works on the __________ principle.

9.	Induction type energy meter is an indicating instrument – State True or False.

10.	__________ induces a high voltage in a fluorescent lamp.

PART – B  (5 x 3 = 15 MARKS)

11. 	Mention the limitations of Ohm’s law.

12.	State Fleming’s right hand rule.

13.	Define RMS value and form factor.

14.	List out the applications of DC Series Motor.

15.	Discuss the necessity of earthing.

PART – C  (5 x 15 = 75 MARKS)

16.	a. 	Determine the equivalent resistance RT by using star – delta transformation and find 	     	the 	total current IT delivered by the voltage source in the circuit given below. 		(10)

b. 	Write down the expressions for the equivalent star network resistances from a given 	    	delta network.																    (5)

(OR)

[P.T.O]

17.	a. 	For the circuit given below, determine the following quantities: i) Total Resistance RT; 		    	ii. Total current IT;	 iii. Power delivered by the voltage source.					    (6)

b. 	State the Kirchhoff’s Laws and demonstrate them using a circuit.					    (9)

18.	a. 	Compare magnetic and electric circuits.											  (10)

b. 	Define the following:															    (5)

i) Magnetic field intensity;	ii) Fringing Effect

(OR)

19.	Explain self inductance with necessary equations. Also derive the relationship between 	self-induced emf and self inductance.

20.	With a neat sketch explain the operation of Thermal Power Generating Station.

(OR)

21.	a. 	Derive the expressions for rms value, average value, form factor and peak factor of an 	    	alternating sinusoidal voltage quantity.											    (8)

b. 	Discuss the merits and demerits of Overhead Distribution systems with Underground 	    Distribution systems. 															    (7)

22.	Describe the construction of DC Generator with neat diagrams.

(OR)

23. 	a. 	Classify the types of DC Motor.												    (5)

b. 	List out the applications of three phase induction motor.							    (5)

c. 	Illustrate the working principle of Transformer.									    (5)

24.	Discuss the various Torque’s required for the operation of indicating type instruments with neat diagrams.

(OR)

25. 	a. 	Single lamp can be controlled with 2 two way switches – Justify with staircase wiring 	    	with a neat diagram.															    (7)

b. 	How fluorescent lamp is working?												    (8)