Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	ANALYTICAL CHEMISTRY AND SPECTROSCOPY     	     Time : 3 hours

Subject Code:	10NT214						 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Give any two applications of ion-exchange chromatography.

2.	Oxygen is unsuitable as a carrier gas for Gas chromatography, why?

3.	13C NMR is active, whereas 12C NMR is not. Give reason.

4.	Write the principle of NMR spectroscopy.

5.	Write any two detectors used in confocal microscope.

6.	Mention two application of phosphorescence.

7.	Write the basic principle of mass spectrometry.

8.	State Nitrogen rule.

9.	What is x-ray crystallography?

10.	Write Bragg’s law.

PART – B  (5 x 3 = 15 MARKS)

11.	Explain the instrumentation of column chromatography.

12.	Explain why TMS is used as a standard in NMR Spectroscopy.

13.	What is fluorescence polarization? Draw a neat diagram showing fluorescence polarization.

14.	What is Retro-Diels-Alder rearrangement?

15.	Write the application of X – Ray Difraction spectroscopy.

PART – C  (5 x 15 = 75 MARKS)

16.	a. 	Explain instrumentation and application of Thin Layer chromatography.		      	(8)

b. 	Discuss the application of ORD in organic and biomolecules.  			      			(7)

(OR)

17.	a. 	Write shorts notes on:

i.	Cotton effect.		     ii.	Octant rule.					      				(8)

b. 	Discuss the principle, instrumentation and application of gas chromatography.    	   (7)

18.	a. 	Discuss the principle and application of FT-NMR spectroscopy. 			      		(8)

b. 	What is spin-spin coupling? Explain with one example.				      			(7)

(OR)

19.	a. 	What is chemical shift? Explain the factors affecting chemical shift. 		      		(7)

b. 	State the principle and applications of C 13 NMR spectroscopy.	 		      			(8)

20.	a. 	Discuss the various processes undergone by excited state molecule with the help of   	Jablonski Diagram.							                             				(10)

b. 	What is fluorescence confocal microscopy (FCM)? Draw the reflection mode of FCM.                                       																			(5)

(OR)

[P.T.O]

21. 	a. 	What is fluorescence in-situ hybridization (FISH)? Explain the preparation and 					hybridization process of RNA.							       						   (7)

b. 	What is fluorescence correlation spectroscopy microscopy (FCS)? Draw the reflection   mode of FCS.							                   							   (8)

22. 	a. 	Write about the fragmentation pattern of ester.		                                           		   (8)

b. 	Explain the mechanism of Mc Lafferty rearrangement.		 		       			   (7)

(OR)

23. 	a. 	Write about Retro Diels Alder rearrangement in Mass spectra.                                	(8)

b. 	Discus the significance of molecular ion peak.					       				    (7)

24. 	a. 	What is isomorphous replacement? Explain how it is used to solve the structure.  	   (7)               b. 	Discuss the problems associated with growing biomolecular crystals.                  	     (8)

(OR)

25. 	a. 	Explain the various stages involved in protein crystallography.				       		    (8)

b. 	Explain how the electron density maps derived in crystallography are interpreted. 	   (7)