Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	POWER SYSTEM PROTECTION AND SWITCHGEARS     Time : 3 hours

Subject Code:	11EE218/12EE218/EE256						      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	__________ is a symmetrical fault.

2.	Current limiting reactors are used for __________.

3.	Mention the fundamental requirements of protective relaying.

4.	What is a static relay?

5.	Define the term switchgear.

6.	What is meant by current chopping?

7.	Give the causes of over voltages.

8.	What is meant by Lightning?

9.	Define solid earthing.

10.	What are the advantages of earthing?

PART – B  (5 x 3 = 15 MARKS)

11.	Mention a few applications of CTs and PTs in protection schemes.

12.	State the significance of negative sequence relays.

13.	List the merits and demerits of vacuum circuit breaker.

14.	Write a note on surge absorbers.

15.	What is earthing transformer? What are its uses?

PART – C  (5 x 15 = 75 MARKS)

16. 	a.	Explain the principles and need for protective schemes.

b.	Explain the nature and cause of faults.

(OR)

17. 	Describe the analysis of symmetrical faults with examples.

18.	Explain briefly with a neat sketch the construction and operation of directional over current relay.

(OR)

19. 	With necessary schematic diagrams explain the carrier current protection scheme for feeder lines.

20. 	Explain the construction and working of SF6 breaker with a neat sketch.  Give the properties of SF6 gas that makes is more useful for circuit breaking.

(OR)

21. 	Explain the construction and principle of operation of any two air blast circuit breaker.

22. 	Discuss briefly about the lightning phenomenon and the lightning strokes.

(OR)

23. 	Discuss the different types of lightning arresters.  Explain the steps involved for lighting arrester selection.

24. 	Write short notes on:

a.	Earthing transformer.		b.	Resistance earthing.								(8+7)

(OR)

25. 	Explain the concept of insulation coordination amongst items of substation equipment.