Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	INSTRUMENTAL METHODS OF ANALYSIS		      	     Time : 3 hours

Subject Code:	12BI205 / 12BT206								       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define pH.

2.	Write Henderson – Hasselbalch equation.

3.	State Beer Lamberts law.

4.	Write one application of spectrophotometer.

5.	Name the gas present inside cathode lamp in AAS.

6.	Expand HPLC.

7.	Name anyone radioactive isotope.

8.	Who invented Scintillation counter?

9.	What is thermogravimetry?

10.	Write the applications of DTA.

PART – B  (5 x 3 = 15 MARKS)

11.	Give a brief account on Glass electrode.

12.	State the applications of colorimeter.

13.	Write the principle of IR spectrosocopy.

14.	Give a brief account on types of Radioactive decay.

15.	Write the working principle of DTA.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail about buffering system of blood.

(OR)

17.	Describe in detail the principle, operation and application of pH meter.

18.	Write in detail the working principle of UV- spectrophotometer.

(OR)

19.	Describe in detail the working principle and applications of Raman Spectroscopy.

20.	Explain in detail the working principle of HPLC and its applications in the field of biotechnology.

(OR)

21.	Give a detailed account on atomic absorption spectroscopy and state its applications.

22.	Explain in detail about scintillation counters.

(OR)

23.	Give a detailed account on autoradiography and its applications.

24.	Write in detail about differential scanning calorimeter (DSC).

(OR)

25.	Explain in detail about differential thermal analysis (DTA).