Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	MEASUREMENTS AND INSTRUMENTATION		      	     Time : 3 hours

Subject Code:	12EC204								 		      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Give the need for units in measurement.

2.	To increase Q factor of a coil, the wire should be

a. long 		b. thick 		c. thin 		d. thin and thick

3.	The most common method for measurement of low resistance is:

a.	Wheatstone bridge				b.	Potentiometer method

c.	Voltmeter-ammeter method 		d.	Kelvin's double bridge

4.	Induction type single phase energy meters measure electric energy in

a.	Kw  	b.	Wh  	c.	kWh 	d.	VAR

5.	The bridge circuit used to measure the capacitance is

a.	Wheatstone bridge			b.	Kelvin

c.	Schering Bridge				d.	Maxwell Bridge

6.	State the balance equation used in dc bridges.

7.	Give one examples of piezoelectric materials.

8.	What is a transducer?

9.	Which of the following is measured by using a vector voltmeter?

a.	Amplifier gain and phase shift 		b.	Filler transfer functions

c.	Complex insertion loss 			d.	All the above

10.	What is the instrument used for the time base measure?

PART – B  (5 x 3 = 15 MARKS)

11.	What is meant by Caliberation?

12.	Mention the need for measurement.

13.	Give the need of measurement in the bridge circuit.

14.	Define Piezo electric effect.

15.	What is real time spectrum analyzer?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Describe in detail about the principle, construction and working of the moving iron 				instrument. 																	    (9)

b.	Give the need of Calibration of instruments.										    (6)

(OR)

17.	Discuss the working principle of operation of Galvanometer type of instruments with its constructional diagram. Also derive the torque equation of the galvanometer.

18.	Explain the techniques available for adjustments to make the energy meter measure the energy consumed.

(OR)

19.	Discuss the construction and operation of instrument transformers and calculate the power.

[P.T.O]

20.	Describe how measurement of resistance can be done by using Wheatstone bridge. What 	types 	of resistance are suitable for measurement using this bridge?

(OR)

21.	Explain the construction of Schering bridge. Derive the unknown quantities at balance 	condition.

22.	Explain about the various classifications of Transducers with an example of each type in detail.

(OR)

23.	Explain the principle, characteristics and advantages of LVDT with a neat diagram.

24.	Draw and explain the working principles and the block diagram of a Digital Voltmeter of ramp type.

(OR)

25.	With a neat block diagram explain how XY recorder can be measured using signal. Give the uses of XY  recorder.