Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2016

Subject Title :	BIOMEDICAL INSTRUMENTATION				      	     Time : 3 hours

Subject Code:	12EC238										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is All-or- Nothing law?

2.	Give an example for Involuntary Muscles.

3.	On what principle does the Electromagnetic blood flowmeters operate?

4.	List out two advantages of Cardiac Output Measurements.

5.	Draw the output waveform of Dual peak DC defibrillators.

6.	What is the amount of energy required for a pair of electrodes to stimulate a nerve?

7.	Differentiate between Radiography and Fluoroscopy.

8.	Define PH.

9.	Name the elements used in Biotelemetry.

10.	What is meant by characteristics X-ray radiation?

PART – B  (5 x 3 = 15 MARKS)

11.	Draw and explain the ECG Recording Setup.

12.	How is Lung volume measured?

13.	With a neat diagram explain shortwave diathermy.

14.	Discuss various steps in which how surgical equipments are sterilized?

15.	Draw the block diagram of X-Ray machine and name its parts.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	With a neat diagram explain the Electromyography(EMG) and for what purpose it is used?

(5)

b.	Explain the origin of different Heart sounds.										    (2)

c.	Give the mechanism by which its permeability is controlled by the substance K+ , Cl-, Na+ to generate the Action Potential and Resting Potential.							    (8)

(OR)

17.	Draw the necessary waveform of Electroencephalography (EEG) and explain neatly about brain waves.

18.	a.	Discuss Fick’s Method for Cardiac output Measurements.							    (8)

b.	Elaborate on the concept of Oximeters with necessary diagram.					    (7)

(OR)

19.	Discuss the various types of Blood Flowmeters used to monitor the blood flow with a suitable diagram.

20.	a.	Briefly explain the modes of operation of Pacemakers.							    (7)

b.	What are the differences between Hemodialysis and Peritonial Dialysis?			    (8)

(OR)

21.	What is meant by Defibrillators? Explain the various types of External Defibrillators?

[P.T.O]

22.	Write short notes on

a.	PH.																			    (5)

b.	Spectrophotometer.															    (5)

c.	Chromatography.																    (5)

(OR)

23.	Discuss various Electrical Safety measures maintained in Hospitals to avoid Shock.

24.	Draw the Block Diagram of Computer Tomography (CT) system and explain the image reconstruction using it.

(OR)

25.	Define Biotelemetry? Discuss the details of the design of the biotelemetry circuit.